## Slide 1: Gated Mode - System Aspects
Felix Müller on behalf of the Gated Mode crew (Christian Koffmane, Philipp Leitl, Luigi Li Gioi)
21st International Workshop on DEPFET Detectors and Applications
28th – 31th May 2017
Ringberg Castle

## Slide 2: Gated Mode - Theory
Continuous top-up injection with 50 Hz, i.e., every 20 ms
Bunch revolution time: 10 μs
Shield detector during passing of noisy bunches
Limit by other sub-detectors: 1 μs
BEAST Phase 2 will bring more information about damping time
KEKB

## Slide 3: Gated Mode
10 µs
Dead time:
1.4 µs – 1.9 µs
→ 14% of sensitive area
→ 19% of sensitive area
readout
direction
20 µs
Gated Mode
Gated Mode
PXD sensitive area
Dead time: Shielding of DEPFETs and Pedestal oscillations / relaxation

## Slide 4: DHP – DCD – Switcher principle
Switcher | Signal | Pedestal | Offset
gate i
gate i+1
gate i+2
gate 192
gate 1
spare until
gate 256
from
DCD
to
DCD
128bit to Switcher
<, >
threshold
gate changes every 8 clock cycles of GCK
Switcher
512
512
normal
VETO
DHP memory blocks

## Slide 5: DHP – DCD – Switcher principle for GM
Switcher | Signal | Pedestal | Offset
gate i
gate changes every 8 clock cycles of GCK
gate i+1
gate i+k
gate i+k+1
Normal sequence
Switcher sequence
GM

## Slide 6: Gated Mode
Apply Clear On voltage at all DEPFET pixels
Switch Off the DEPFET
192 Switcher outputs in total
Four groups to (de)-activate the Gated Mode, each Switcher has 4 groups:
Each Switcher (de)-activate the Gated Mode for 8 gates simultaneously

## Slide 7: Gated Mode w/o readout
Stop Readout
During gating there is no readout
Continue readout after gating
need to be in sync with offsets, pedestals and machine => Fast clocking

## Slide 8: Gated Mode w/o readout
Fast clocking to get in sync
“Missing next frame” (Missing all frames during the damping time of noisy bunches (which prevent the sampling of the SerIn signal)) problem
Switcher requires high clock for SerIn

## Slide 9: Gated Mode w/o readout
Advantages:
Can ramp up/down the Switcher groups with steps of 7.56 ns
Adjust the length of activating the GM in steps of 3.26 ns
Fast (de)-activation: 20 ns in theory for (de)-activation, and (90 ns) 75 ns are measured
Disadvantage(s):
Missing “next frame” problem / Missing all frames during the damping time of noisy bunches (which prevent the sampling of the SerIn signal)
In addition: Pedestal oscillation, i.e., require extra time for relaxation of pedestals, ~ 1µs (must be measured again in more detail with newest generation of ASICs)
total time for GM: ~ 370 ns
total Gated Mode (enabling, gating, disabling, time to normal operation): 1.4 µs

## Slide 10: Gated Mode without readout
W37-IB
Switcher substrate
voltage
DHPT 1.1
DCDBv4.2
SWB18v2.1

## Slide 11: Ideas to solve problems – pedestal oscillations
1) Stop GCK after switching back to normal mode for 1 μs
  ensure synchronization with offsets and pedestals
  Extend readout time from 20 μs to 22 μs
~1 μs
GCK
20 μs
40 μs
60 μs
0 μs
80 μs
Normal readout
Gated Mode
Is it possible from DHE, DHP?
Gated Mode

## Slide 12: Ideas to solve problems – pedestal oscillations
2) Running GCK, stop Switcher sequence
Extend Switcher Sequence with empty signals, i.e., stop continuous rolling shutter mode
  out of sync with offsets
  out of sync with pedestals (occupancy ↑ )
Switcher | Signal | Pedestal | Offset
GM
Matrix readout
Pedestals memory
Does not work

## Slide 13: FSYNC signal
DHP reads / writes data in the next memory line every 8 clock cycles
SerIn signal is stored in gate 190
Problem if the Gated Mode without readout is applied during gate 190
192
1
FSYNC
FSYNC resets all memory pointers
(Switcher sequence, offsets, pedestals)
After 1536 clock cycles (8*192)
DHP memory

## Slide 14: Ideas to solve problems – “missing next frame”
3) Extend Switcher sequence and build SerIn and CLK after normal GM sequence
normal GM sequence
extended GM sequence
extended GM sequence:
SerIn and high Clock
Question: How fast can we write to JTAG that DHP should read SerIn from VETO Switcher Sequence?
DHPT1.2 allows to decide whether the SerIn is used from normal switcher sequence or from Gated Mode switcher sequence: configuration via JTAG command
DHE needs to sent the FSYNC more than 1536 clock cycles. Otherwise the memory pointer within the DHP is reset.
Does the DHE allow variable lengths of FSYNC for one frame?
At least two fixed lengths?
DHP memory

## Slide 15: Ideas to solve problems – “missing next frame”
3) Extend Switcher sequence and build SerIn and CLK after normal GM sequence
Keep in sync with pedestals, offsets
Out of sync with machine – Problems?
20 μs
40 μs
60 μs
0 μs
80 μs
Normal readout
Gated Mode
Gated Mode
SerIn

## Slide 16: Gated Mode with readout
Continue readout during Gated Mode
Cannot read DEPFET values due to pedestal oscillations
Need 315 ns for (de)-activation in theory (20 ns for GM without readout)
Measured 330 ns / 335 ns for (de)-activation in practice
Adjust shielding time in steps of 105 ns (3.27 ns for GM without readout)

## Slide 17: Gated Mode with readout
W37-IB
Switcher substrate
voltage
DHPT 1.1
DCDBv4.2
SWB18v2.1
Group 1
Group 2
Group 3
Group 4
Group 1
Group 2
Group 3
Group 4

## Slide 18: Gated Mode – 2 Possibilities
Gated Mode with readout (GM w/ RO):
needs 315 ns in theory (330 ns measured) to enable the GM, i.e., to shield all pixels
needs 315 ns in theory (335 ns measured) to disable the GM, i.e., to switch to normal operation
can apply the GM for all pixels in steps of 105 ns
total time for GM: ~ 870 ns
additionally, the read-out of the pedestals currents after the GM show oscillations (increased spread), which take ~ 1µs (must be measured again in more detail)
total Gated Mode (enabling, gating, disabling, time to normal operation): 1.6 µs – 1.9µs
Gated Mode without readout (GM w/o RO):
needs 20 ns in theory (75 ns measured) to enable the GM, i.e., to shield all pixels
needs 20 ns in theory (90 ns measured) to disable the GM, i.e., to switch to normal operation
can apply the GM for all pixels in steps of 3.27 ns
total time for GM: ~ 370 ns
additional pedestals currents after the GM : ~1 µs (must be measured again in more detail)
total Gated Mode (enabling, gating, disabling, time to normal operation): 1.4 µs
Measurements on W37-IB (PXD9-7 with SWB18v2.1)

## Slide 19: Layout change – PXD9-7
Reduced ohmic resistance from Switcher Substrate net
PXD9-6: 55 Ω for Switcher 1, 172 Ω for Switcher 6
PXD9-7: 10 Ω for Switcher 1, 27 Ω for Switcher 6
W31-OF1
DHPT 1.1
DCDBv4.2
SWB18v2.0

## Slide 20: Layout change – PXD9-7
Reduced ohmic resistance from Switcher Substrate net
PXD9-6: 55 Ω for Switcher 1, 172 Ω for Switcher 6
PXD9-7: 10 Ω for Switcher 1, 27 Ω for Switcher 6
W31-OF1
DHPT 1.1
DCDBv4.2
SWB18v2.0

## Slide 21: Summary and Outlook
Gated Mode without readout is faster but there is the “missing next frames” problem
Ideas to shift frame, increase frame time – need to consider system aspects from DHE/DHP
Need to measure pedestal oscillation time
Testing procedures for GM mass testing to be evaluated if needed?
Wait after “mass testing”
Is it better to use GM w/o RO and lose in 1.6% of the cases the 4 ms (200 frames) with gating time of 1.4 µs OR
is it better to use GM w/ RO, do not lose consecutive frames but with a gating time of 1.9 µs (preliminary)
⇒ Planned: Effect of the PXD Gated Mode on Physics should be evaluated
Gated Mode w/o RO | Gated Mode w/ RO
(De)activation 90 ns Adjustment of gating time in steps of 3.27 ns Total time for GM 370 ns + pedestal oscillations | De(activation) needs 335 ns Adjustment of gating time in steps of 105 ns Total time for GM 870 ns + pedestal oscillations

## Slide 22: Radioactive Source and Laser setup
Infrared Laser (980 nm) to cover entire module area
Needs to be installed (Laser safety 3B)
LED setup to study clear efficiencies and gated mode operation, not in pixel scan, no laser setup

## Slide 23: Readout directions (1)
L2 BWD
L2 FWD
L1 BWD
L1 FWD
Arrows depict the readout direction

## Slide 24: Readout directions (2)
Backward
Forward
Arrows depict the readout direction

## Slide 25: PXD Arrangement
Arrows depict the readout direction