## Slide 1: GREST
- Multistorage DEPFET Devices -

## Slide 2: Getting Ready for the European Solar Telescope
Notes: A venture for the development of new technologies for the application at EST

## Slide 3: GREST
EST:
Notes: - largest solar telescope in europe
- multiple exchangeable instruments
- located on the canary islands
- start of construction ~2020
start of operation ~2027
our contribution here will be a high precision polarimetric camera

## Slide 4: GREST
Notes: Through Modulator and Analyzer, the polarisation at a given point in time is encoded as intensity variation. By detecting the intensity variation for 4 different polarization states, the complete polarization information can be retrieved.
For standard sensors Modulation and Frame rate are coupled.

## Slide 5: GREST
Modulation ~ 10 kHz
Frame-Rate ~ 400 Hz
Notes: We intend to built a sensor that is capable to decouple modulation frequency and frame rate.
How are we going to do that?

## Slide 6
DEPFET Principle

## Slide 7: DEPFET
intrinsic amplification
low noise
backside illumination
100% fill-factor
intrinsic amplification
low noise
backside illumination
100% fill-factor

## Slide 8: DEPFET
intrinsic amplification
low noise
backside illumination
100% fill-factor

## Slide 9
Quadropix
Central Anode
Notes: We have two concepts for the proposed polarimetric sensor
the Quadropix DEPFET
and the Central Anode DEPFET

## Slide 10: Simulations - Quadropix

## Slide 11: Simulations - Quadropix
Notes: First a bit more explanation about the functional principle of the devices
so in principle we have 4 DEPFET subpixel per superpixel
voltages applied to the drain control the collection of charge

## Slide 12: Simulations - Quadropix
A
B
C
D
Notes: lets reduce the names and only go with the subpixels

## Slide 13: Simulations - Quadropix
A
B
C
D
- Selectability
- Charge Spreading
Notes: : How much charge is
collected in the insensitive subpixels?
How does the signal collected within a pixel change with respect to photon incident position and device state?

## Slide 14: Simulations - Quadropix
Vback=-73V
A
B
C
D
- Selectability
s

## Slide 15: Simulations - Quadropix
- Selectability
operation window for backside voltage
A
B
C
D
Notes: an optimization through adaption of geometry and implants is possible

## Slide 16: Simulations - Quadropix
A
B
C
D
- Selectability
- Charge Spreading

## Slide 17: Simulations - Quadropix
- Charge Spreading
A
B
C
D

## Slide 18: Simulations - Quadropix
3x3 Array
A
B
C
D

## Slide 19: Simulations - Quadropix
0/0
1/0
2/0
3/0
0/1
0/2
0/3
3/3
3x3 Array
Gate
Drain
Source
Clear
A
B
C
D

## Slide 20: Simulations - Quadropix
0/0
1/0
2/0
3/0
0/1
0/2
0/3
3/3
Charge Injection Area
3x3 Array
Alexander Bähr, MPG Halbleiterlabor

## Slide 21: Simulations - Quadropix
CSF for Pixel 2/2
0/0
1/0
2/0
3/0
0/1
0/2
0/3
3/3
Notes: PSF asymmetric
blurred into direction of positive Drain
the effects on polarimetric capabilities are yet to be evaluated

## Slide 22: Simulations - Quadropix
standard (450 µm bulk)
thin (50 µm bulk)
thin (50 µm bulk)
+ focussing implant
Notes: assymetry reduces for thinner material

## Slide 23
Quadropix
Central Anode
Notes: We have two concepts for the proposed polarimetric sensor
the Quadropix DEPFET
and the Central Anode DEPFET

## Slide 24: Simulations – Central Anode

## Slide 25: Simulations – Central Anode
A
B
C
D
CA
Notes: Central Anode device 80x80µm²
Bulk thickness = 350µm
Analytical Gaussian profiles
to approximate implants

## Slide 26: Simulations – Central Anode
Central Anode device
Charge collection for Vback=-70V and -95V
A
B
C
D
CA
s
Notes: 80x80µm²
Bulk thickness = 350µm
Analytical Gaussian profiles
to approximate implants

## Slide 27: Simulations – Central Anode
Charge transfer for Vdrain=-3 and Vsep=-3
A
B
C
D
CA
s
Central Anode device

## Slide 28: Measurement Setup
B
mechanical design

## Slide 29: Measurement Setup
B

## Slide 30
Outlook
measurements (and comparision to simulations)
smaller pixel size?
more storage regions?
Notes: Feasability Study

## Slide 31
B
Thanks for your attention