## Slide 1: What you need to design a detector: Principle of Field Calculation and Pulse Shape Simulation
Jing Liu
Kavli IPMU, University of Tokyo
8 Apr. 2013, Tuebingen
Notes: The working principle of a germanium detector system is well known and formulated. It can be fully simulated. No need to consider how to cool it down. Zero background, electronic noise and infinite band width can be easily achieved. Don’t do real experiment, just simulation. You will be very happy. Guaranteed!

## Slide 2: Geant4
Please refer to Xiang’s talk

## Slide 3: Spatial resolution

## Slide 4: Static electric field

## Slide 5: Poisson’s equation
Please refer to Burcin’ talk

## Slide 6: Impurity
Please refer to Iris’s talk

## Slide 7: Drift of charge carriers

## Slide 8: Crystal structure

## Slide 9: Drift velocity

## Slide 10: Drift trajectory

## Slide 11: Pulses

## Slide 12: Ramo’s theory
Induced charge is proportional to the Weighting Potential seen by charge carriers along their trajectories
Weighting potential equals unity on the considered electrode and zero on all other electrodes

## Slide 13: Electronic effects

## Slide 15: Verification

## Slide 16: Input parameters
Discrepancy between data and simulation is mainly caused by input parameters
  Geometry and material
  Impurity
  Mobility along 100 and 111
  Modeling of electronics
It is possible to establish a good simulation package, but it takes time

## Slide 17: applications

## Slide 18: Determine crystal orientation
Number of pulses recorded in segments should be different even if hits are homogeneously distributed:

## Slide 19: Experiment
10cm
60Co
Ge
Vacuum can
Top layer
Middle layer
Bottom layer
Number of recorded pulses
Segment ID

## Slide 20: Result

## Slide 21: Determine rise time
Bad fit
Good fit
Noise of a real pulse prevent precise measurement of the rise time.
This can be overcome if a simulated pulse is fitted to a real one with its time scale as a free parameter, since all information is used:

## Slide 22: Develop event selection method

## Slide 23: Estimate efficiency
228Th with BEGe

## Slide 24: New design
Please refer to David and Burcin’s talks

## Slide 25: Summary
Simulation processes
  Geant4 simulation
  Field calculation
  Drift calculation
  Weighting field
  Electronics effect
Verification
  Compare to dedicated measurement
  Tune input parameters
Applications
  Determine crystal orientation
  Determine rise time
  Investigate event selection method and estimate its efficiency
  Design new detectors
  Many more…