## Slide 1: The Liquid Argon Test Facility in THU
Qinghao Chen
Tsinghua Univ.
CDEX collaboration
@Universitaet Tuebingen
April 9, 2013
Development of High Purity Germanium Detector Techniques
for Applications in Fundamental Research

## Slide 2: Outline
Liquid Argon Detector in CDEX
1
Liquid Argon Test Facility
2
Preliminary experimental results
3
Future Work
4

## Slide 3
ton-scale LAr as anti-Compton detector of ULE HPGe array in WIMPs direct detection @ CJPL
CDEX
CDEX（China Dark matter EXperiment）

## Slide 4
The function of liquid argon
Keep Ge in a low temperature
Anti-Compton
Passive shielding

## Slide 5: Advantages of LAr Detector
Good stopping power
High scintillation yield (40000photons/MeV)
Excellent particle identification capability
transparent to their own scintillation light

## Slide 6
（1）Excitation -> decay
（2）Ionization
-> neutralized by
thermalized electrons
-> decay
three nearly degenerate spin states
Fast component: 4ns ~ 7ns
Slow component:
1100ns ~ 1600ns
scintillation light of Ar

## Slide 7: What’s more
Purification of Ar
The detection of EUV photons
  Wavelength shifter(WLS):TPB(tetraphenyl butadiene)

## Slide 8: Outline
Liquid Argon Detector in CDEX
1
Liquid Argon Test Facility
2
Preliminary experimental results
3
Future Work
4

## Slide 9: The Liquid Nitrogen Cooling System
Liquid Nitrogen
LAr & GAr

## Slide 10: LAr System

## Slide 11: TPB evaporation system
Teflon
Teflon cylinder

## Slide 12: TPB evaporation system
TPB

## Slide 13: TPB evaporation system
PMT
Teflon

## Slide 14: TPB Coating
Small glass pieces

## Slide 15: TPB Coating
Small glass pieces

## Slide 16: System Installation

## Slide 17: System Installation

## Slide 18: System Installation
Plastic scintillator ：
to tag cosmic rays

## Slide 19: System Installation

## Slide 20: Outline
Liquid Argon Detector in CDEX
1
Liquid Argon Test Facility
2
Preliminary experimental results
3
Future Work
4

## Slide 21: The Pulse Shape in GAr
快慢成分较为明显！

## Slide 22: The Pulse Shape before/after Purified

## Slide 23: Outline
Liquid Argon Detector in CDEX
1
Liquid Argon Test Facility
2
Preliminary experimental results
3
Future Work
4

## Slide 24: Future Work
Get the pulse shapes in:
  Unpurified GAr
  Purified GAr
  Unpurified LAr
  Purified LAr

## Slide 25
THANK YOU!!!