## Slide 1
2.5 GeV PF
6.5GeV PF-AR
Super KEK-B
cERL
3GeV ERL (proposed)
Soichi Wakatsuki IMSS, KEK
Photon Science, SLAC
School of Medicine, Stanford
DEPFET as X-ray detector for synchrotron protein X-ray crystallography & SAXS experiments
13th International Workshop on DEPFET Detectors and Applications
Ringberg, June 12, 2013

## Slide 2: Protein Data Bank structure depositions determined by X-ray methods: total vs. synchrotron (130 beamlines)
Total
X-ray
SR
http://biosync.sbkb.org/index.jsp
Grand total as of June 5, 2013: 90196
Monthly downloads: 30 to 40 M

## Slide 3: DEPFET Pixel Detector Project
High Energy Accelerator Research Organization
Institute of Materials Structure Science
Soichi Wakatsuki, Naohiro Matsugaki, Nobutaka Shimizu
Institute of Particle and Nuclear Science
Yutaka Ushiroda, Shuji Tanaka, Takeo Higuchi, Hideki Miyake
Toru Tsuboyama
Max Planck Institute for Physics, Munich
Hans-Günther Moser, Christian Kiesling, Jelena Ninkovic
Christian Koffmane, Felix Müller, Martin Ritter

## Slide 4
Detector | Effective pixel size | Readout speed | Dynamic range | Readout scheme
ＣＣＤ | 90 μm | 300 msec | 104 | Integration
Hybrid PAD | 170 μm | 3 msec | 106 | Streamlined
Needs of new detectors for protein xtallography/solution scattering experiments
Now Efficient data collection
Issue How to measure intensities of very small spots from micro beam/micro xtals
Now Protin folding & solution dynamics of protein-protein interactions
Issue fastest dynamics: ~msec
Needs for fast & high spatial resolution 2D detector for micro/nano beam
High spatial resolution
High sensitivity
Large # of pixels
Fast readout
Large dynamics range
Required properties of X-ray detectors
CCD（Quantum315r）
Hybrid PAD（Pilatus 6M）
Targets: structure and dynamics of large complexes and membrane proteins
Protein Crystallography
Solution scattering
Notes: タンパク質結晶構造解析のターゲットは、生命活動に重要な働きをもつ膜タンパク質や、リボソームに代表される超分子複合体へ移ってきている。これらのタンパク質は本質的に構造が不安定であるため結晶からの回折強度が微弱であり、分子量が巨大であるため回折点の間隔が非常に密となる。構造を高い分解能で正確に決定するためには、微弱な反射を測定可能な空間分解能の高い二次元検出器が必須である。一方、タンパク質溶液の小角散乱による時分割構造解析においては、試料の高速混合技術によりサブミリ秒オーダーの時間変化を追いかけることが可能となってきている。この時間領域には、酵素反応に伴う構造変化やタンパク質のフォールディングなど興味深い対象があり、より詳細な空間的・時間的構造を解明するためには、広いダイナミックレンジかつ高い位置分解能を持つ画像をマイクロ秒オーダーで読み出す検出器が求められる。
現在、タンパク質の結晶構造解析や溶液小角散乱に用いられている検出器としては、CCD検出器(Charge Coupled Device Image Sensor) が多用されている。しかし、CCD検出器を用いる場合は、広い受光面積を実現するために回折X線を薄い蛍光体層で可視光に変換し、光ファイバーを束ねて絞り込んだ光学系を経由してCCDチップに導く。そのため回折X線を直接観測できる検出器と比較して感度、位置分解能の上で不利である。また、電荷を溜め込む蓄積型のセンサーであるため、微弱な信号はノイズの影響を受けやすい。そこで最近ではPILATUS(参考文献[1])に代表される、回折X線の直接観測が可能なフォトンカウンティング型の2次元イメージシリコン検出器が実用化され、実験に用いられ始めている。

## Slide 5: DEPFET （DEpleted P-channel FET）
X-ray
Sensor chip development by Max Plank Institute, Munchen
Detector type | # of piexels | Eff. resolution | Readout speed | Dynamic range | Readout
ＣＣＤ | 16 M | 90 μm | 300 msec | 104 | Integration
Hybrid PAD | 6 M | 170 μm | 3 msec | 106 | Continuous
DEPFET | 8 M | 50 μm x 55μm (25 μm) | 20 μsec (Continuous) | 107 (Integration mode) | Switchable between integration / continuous
（Up by 4~7）
e- (7GeV)
e+ (4GeV)
（Up by 150）
Major development for structural biology appl.
① smaller pixels large area
② Fast readout: 20ms
Upgrade of KEK-B, Nobel Physics Award to Kobayashi & Masukawa (Expected to start operation in 2014)
Super KEK B-factory
μm

## Slide 6: ① Prep for developing the DEPFET detector
Preliminary experiments to characterize DEPFET sensors for structural biology applications
Design optimization of for large-are DEPFET detector system
Spatial resolution, sensitivity, non-uniformity, dynamic range etc.
Comparison with commercially available detectors
Pseudo large solid angle data collection using a rotation stage
Small DEPFET sensor
256×64 pixels
① － Ⅰ High spatial resolution images of diffraction patterns
  Check of spatial resolution and peak shape with small beam matched for small xtals
① －Ⅱ Fast readout data acquisition for solution scatterin gexperiments
  Protein folding and photo excitation dyanmics followed by time-resolved SAXS with 20 msec time resolution
X-ray
DEPFET
Rotation table

## Slide 7: ② Development of large area DEPFET detector
X線
Xtal
Large area censor 1536×256 pixels
On-the-fly integration of max 50,000 images (24 bit/pixel)
8 bit/pixel
Software for noise reduction
⇒
Fiber optics
Max 1 Gbytes/sec
…
…
Crystallo-graphic analysis
Protein dynamics
Integration mode
ADC
Fast noise reduction
Fast continuous mode
②－Ⅰ Ultrafast readout system
②－Ⅱ 8M pixel DEPFET detector based structural/dynamics analysis system
8M pixels with 20 DEPFET sensors
Data acquisition and analysis

## Slide 8: ③ Applications to challenging targets
20 μsec time resolution dynamics solution scattering experiments
③－Ⅱ Solution studies of domain association-dissociation dynamics and kinetics of signalosomes
Linearly ubiquitylated protein substrate
Liq jet rapid mixing
③－Ⅰ Structural analysis and dynamics of membrane protein complexes & large complexes
Ring
Structural changes of NEMO in complex with linear ubiquitin chains: NF-ｋB signal tranduction pathway involved in inflammation, apoptosis, and cancer
Rahighi et al. Cell, 2009
Structure dynamics of complexes involved in photo synthesis and respiratory chain： photo excitation dynamics
hn
IKKa・IKKb・NEMO complex
…
…
Photo excitation
Notes:   タンパク質結晶構造解析用に半円筒型に配列するためのDEPFETセンサーを20枚生産し、完成した新型DEPFET検出器を用いた高難度タンパク質の結晶構造解析および20μsの時分割溶液散乱の観測技術の方法を確立する。

## Slide 9
Structural studies of polyubiquitin synthesis & recognition
In vivo analysis of drug delivery and signal transduction
Macroscopic structural changes ⇔ function
Dynamics: NMR & SAXS
Protein Crystallography
Rahighi et al., Cell 2009
EM & SR X-ray tomography
Membrane dynamics: GI-SAXS& GI-SANS
NF-kB pathway
Dynamics of hierarchical structures: polyUb recognition
3 GeV ERL + XFEL-O
Hierarchical structure of ubiquitin recognition
Figure by Carolyn Larabell

## Slide 10: Integrated Biology: correlated structural biology
Dynamics
Degree of in vivo nature
Spatial resolution
Dynamic
Static
High
Low
in vitro
in situ
PX
NMR
Single particle analysis
Cryo-tomography
Fluorescnece (optical) microscopy
MRI/cell imaging
SAXS/SANS
O. Nureki
S. Iwata
J. Takagi
S. Wakatsuki
Theory & Computation
Organic synthesis
Mass Spec
☆ Seamless connections of different structural methods

## Slide 11: Femtosecond nano-crystallolgraphy using XFEL
Photosystem I structure
Chapman et al., Nature, vol 470, 73-78, February 3, 2011
Structure determination of submicron crystals have been impossible due to the limitation in brightness of X-ray beams from storage rings and radiation damages. XFEL solves both problems by providing 1010 times higher peak brightness and 1 to 100 fsec X-ray pulses which allow “DIFFRACT BEFORE DESTRUCTION (diffract and destroy)”

## Slide 12
 | Europe DESY：Deutsches Elektronen-Synchrotron European X-ray Free Electron Laser | Japan RIKEN & JASRI SACLA：SPring-8 Angstrom Compact Free Electron Laser | US SLAC National Accelerator Laboratory：Stanford Linear Accelerator Center LCLS: Liniac Coherent Light Source
Total length | ca. 3.3km | 0.7 km | 4 km
Electron energy | 10～20 GeV | 8 GeV | 14 GeV
Photon wave-length | 0.85 A | 0.6 A | April 2009, 1.5 A December 2009, 1.2 A
Operation | 2015 | 2011 | 2009
Hamburg, Germany
XFEL Developments: 3 large facilities
Harima, Japan
Stanford, USA

## Slide 13
D. Zhu et al., Appl. Appl. Phys. Lett. 101, 034103 (2012)
© 2012 American Institute of Physics
FIG. 2. (a) Schematics of the experimental setup. (b) Example of SASE spectra for 20 consecutive pulses recorded using the full-range Si(111) spectrometer. (c) The full-range Si(111) spectrum and (d) the high-resolution Si(333) spectrum of the same individual pul...

## Slide 14
Measuring spectra of each XFEL pulse
the Si(111) spectrometer resolution of 0.49±0.02 eV
Si(333) spectrometer, the resolution lower bound 0.13 eV
Courtesy of David Fritz
D. Zhu et al., Appl. Phys Lett. 101, 034103 (2012)

## Slide 15
X-ray beam
~ monochromatic
- all partially recorded reflections
Minimum l λ
Maximum l λ
detector
X-ray beam
Small energy spread
- some fully recorded reflections
Data Collection (William Weis)

## Slide 16: KEK-PF beam test status report
Hideki MIYAKE (KEK)
2013/02/16 Belle II PXD/SVD Workshop and 12th International Workshop on DEPFET Detectors and Applications
Wetzlar, Germany

## Slide 17: KEK-Photon Factory Test Beams
High Energy Accelerator Research Organization
Institute of Materials Structure Science
Soichi Wakatsuki, Naohiro Matsugaki, Nobutaka Shimizu
Institute of Particle and Nuclear Science
Yutaka Ushiroda, Shuji Tanaka, Takeo Higuchi (*), Toru Tsuboyama, Hideki Miyake
(*)IPMU
Max Planck Institute for Physics, Munich
Hans-Günther Moser, Christian Kiesling, Jelena Ninkovic, Christian Koffmane, Felix Müller, Martin Ritter

## Slide 18: Overview
Application of DEPFET sensor for material science (X-ray diffraction of protein crystal)
Employ almost same setup as previous series of experiments (‘11 Nov. and ’12 Mar.)
  KEK Photon Factory 12KeV beam (BL-5A)
  S3B system (ILC type)
  XYZ rotational stage (this time 2D only)
NEW feature
  Combination of PF beam line system with DEPFET DAQ
  Concatenation of multiple images (virtual large surface detector up to 8 Mega pixel)
  This time perform 100x100 mm2 scan

## Slide 19: Experimental apparatus
BL1A
BL10C

## Slide 21: Experiment outline
Preparation of S3B system at MPI
Preparation of XYZ rotational stage at KEK
Experiment at KEK-PF (last Nov.)
Offline image concatenation
  ROOT histogram (useful for HEP guys)
  Visible PNG file
  PILATUS compatible image (based on 32 bit TIFF), necessary for various X-ray diffraction analysis tools

## Slide 22: Miyake: MPI days at a glance
Learning of system operation
Test of burst mode trigger
  Finally employ random mode
Confirmation by laser spot
Thank you for warm hosting!
  Especially Christian, Felix, and Paola

## Slide 23
Stage control
This time, only 2D movement is performed

## Slide 24: 2D hitmap
- Employ DEPFET software library for Belle II (Many thanks to Martin Ritter!)
- Not cover all of available zone (due to accidental beam loss)

## Slide 25: 2D hitmap
- Employ DEPFET software library for Belle II (Many thanks to Martin Ritter!)
- Not cover all of available zone (due to accidental beam loss)
Clear advantage!
CCD
(different sample)

## Slide 26: 3D distribution (log scale)
ADC/ped
X
Y
Pixel-by-pixel ADC distribution is shown

## Slide 27: ADC profile@spot
Normalized by pedestal
Shown by linear scale
x
y
ADC/ped
x
y
ADC/ped

## Slide 28: Plan: data analysis
Finalize offline analysis (e.g. frame by frame)
Precise comparison with PILATUS data
3D rotation to avoid image distortion
Switch to PXD system (large surface, fast DAQ)
  Time dependent analysis of protein dynamics

## Slide 29: Uniformity test (May 7, June. 6)
X-ray ( ) generator
17keV
Intensity (arbitrary unit)
X-ray wave length / Å
Generate (near) flat and characteristic energy X-ray using Molybdenum target
Assure flatness of the source by individual measurements around the center (five points)
Intensity is controlled by Aluminum plates so that each cluster is not overlapped
Analysis of the result is ongoing

## Slide 30
Sample: collagen fibre
Upcoming SAXS experiment using DEPFET on PF-BL10C, June 13-15, 2013
DEPFET to be mounted on this stage
Future SAXS experiments: time-resolved SAXS on structural changes

## Slide 31: DEPFET system for PF applications
DEPFET system: (tentative idea)
DEPFET sensor: by MPI
KEK should define sensor size thickness, pixel size, # of sensors
ASIC chips: DHP, Switcher, DCD*
same as Belle-II PXD (by DEPFET collaboration)
KEK group should define readout scheme by consulting by MPI
Kapton flex
Similar with PXD but could be shorter (Shuji)
DHH
same as Belle-II PXD (by DEPFET collaboration)
Readout PC system
preparation by Higuchi-san
Module assembly: @MPI
System test: @MPI?
Mechanics
Prepared in Japan
Cooling: water cooling
Prepared in Japan

## Slide 32: Schedule
FY2011-FY2013 (fiscal year: April 1 to March 31)
  R&D (beam test@PF)
  Design to be finalized
FY2014-FY2015 (March 31, 2016)
  Sensor system production
  Final beam test with DEPFET system

## Slide 33: Summary and future prospects
DEPFET: hybrid of detector developments in high energy physics and structural biology. Half cylindrical shape for lower energy data collection
  FY2013: critical decision on (1) the large production and (2) half cylindrical or flat design.
  Application to future protein crystallography, small angle X-ray scattering, XPCS (X-ray photon correlation spectroscopy)
  Possible future applications to XFEL nanocrystallography for two-color modes: need for smaller pixels.