## Slide 1: GRB observation of The MAGIC telescopes and PMT for Next Generation Telescope
Particle Physics School Munich Colloquium
December 13th, 2013
Max-Planck-Institut für Physik
Föhringer Ring, Munich, Main Auditorium
Takeshi Toyama
Notes: Thank you Chairman and thank you for attending this meeting
I would like to talk

## Slide 2: Contents
3 Messages!
How MAGIC telescopes observe Gamma ray
Photo sensor for Next generation
Gamma Ray Burst observation by MAGIC
- Motivation, Way, Difficulty, Result

## Slide 3: MAGIC telescope
2013/Jan/11
GRB observation of MAGIC telescopes and PMT for Next Generation telescope Takeshi Toyama
3
Location
Energy range
Angular resolution
Sensitivity
Canary Island La Palma
50GeV - 50TeV
~0.06°(@1TeV)
~0.06%Crab (@500GeV with 50h observation )
85m
17m

## Slide 4: MAGIC telescope
4
Location
Energy range
Angular resolution
Sensitivity
Canary Island La Palma
50GeV - 50TeV
~0.06°(@1TeV)
~0.06%Crab (@500GeV with 50h observation )
85m
17m
blah-blah-blah

## Slide 5: Before talk

## Slide 6
A big glass cube
10km * 10km * 10Km

## Slide 7
100GeV

## Slide 9
These reactions continue until particles become enough low energy.
We measure gamma ray by using this phenomenon

## Slide 10
Charged particle has velocity more than one of light in medium. The particle emits Cherenkov Light
Cherenkov Light is directional radiation, not isotropic

## Slide 11
Replace a glass with just atmosphere
Angle of light emitting is narrow θ= 1°
n: index of refraction
β= vp/c
vp: velocity of particle
Atmosphere
n: 1.0003 β≒1
θ= 1°

## Slide 12
~100m

## Slide 13
If we put
fast (time resolution <~10nsec)
sensitive ( < ~10photon)
sensor
You can count particles
Investigate which particle

## Slide 14
Then put many sensors
14

## Slide 15
15
Air shower by gamma ray
Air shower by hadron
You can distinguish between gamma and the others
to some extent

## Slide 16
16
You can distinguish between gamma and the others
to some extent
I want to track a object in sky

## Slide 17
Tracking Device

## Slide 18
Tracking Device
Well, no significant signal…
Let`s collect more photon to get signal!

## Slide 19
Tracking Device
Mirror
Get significant signal from CrabNebula!
(the Whipple Observatory 1989)

## Slide 20
Tracking Device
Mirror
Get significant signal from CrabNebula!
(the Whipple Observatory 1989)
More sensitive!

## Slide 21
Better sensitivity & resolution

## Slide 22: MAGIC telescope
22
Location
Energy range
Angular resolution
Field of View
Canary Island La Palma
50GeV - 50TeV
~0.06°(@1TeV)
3.5°
85m
17m

## Slide 23
Photo sensor for Next generation

## Slide 24: Next Generation Project Cherenkov Telescope Array (CTA)
G. Perez, SMM, IAC from CTA web site https://portal.cta-observatory.org
Before several groups built Telescopes
In next generation, They all are going to build Telescopes in one project.
-> To achieve 10 time better sensitivity than current Telescopes
We need better photo sensor!

## Slide 25: Photomultiplier Requirement
New PMTs are almost satisfied with requirement
Today I want to focus two parameter “Quantum Efficiency & Afterpulse”

## Slide 26: PhotoMultiplier Tube (PMT)
Cathode
Dynodes
Anode
Vacuum ~0.1Pa (10-7 atm)

## Slide 38: Quantum Efficiency(QE)
Hamamastu and Electron Tube produce Good PMT having QE.
c.f. MAGIC current PMT is 〜32%
Ratio to convert from Photon to electron
If we got better QE
-> we can measure weak signal
-> It leads to lower threshold energy

## Slide 39: AfterPulse(AP)
Signal
2us
Current
Time
Afterpulse is dummy signal after signal.
-> We want to reduce this AP as much as possible

## Slide 40
Cause of After Pulse 1

## Slide 43
On 1st dynode, plus ION can be produced

## Slide 46
These electrons will go 1 st dynode
-> it will be cause of After Pulse.

## Slide 47
Cause of After Pulse 2

## Slide 54
Results of After Pulse measurement

## Slide 55
GRB observation of MAGIC telescope

## Slide 56: Gamma Ray Burst
http://grb.sonoma.edu/
duration time
Number of burst
(sec)
No anisotropy
Short GRB
Long GRB
1. It occurs at cosmological distances.
2. two different population of bursts
3. Some of the Long GRBs are related to hypernova.
4. Afterglow is observed in X ray band. However, GRB is not a well-understood phenomena yet.
Notes: なぞ
エネルギー、等方的、天文学的な距離にあることが判明、2種類、Hノバと関連
未だに分かっていないこととして放射機構、（モデル）、10GeV以上のスペクトラム
No anisotropy
Total energy of GRB is around …

## Slide 57: Motivation
No detection of GRB by this type of Telescope (Imaging Atmospheric Cherenkov Telescope) in history.
Nobody knows
- Energy spectrum more than 300GeV
-What is central engine?
ADVANTAGE of MAGIC for GRB obseration
1.MAGIC can measure more than 50GeV, effective area is over 1000times than Fermi LAT
2. MAGIC can track available source within 25sec at least

## Slide 58: GRB observation in MAGIC
Notes: 衛星とMAGIC
MAGIC FoV is 6 times bigger than moon in angular diameter.
So it is very low probability that GRB happen in MAGIC FoV. ()
We need to repointing after GRB

## Slide 59: GRB13YYYY
Onset
Preliminary

## Slide 60: GRB13XXXX
Preliminary

## Slide 61: Summary
PMT for Next generation telescope has good performance
GRB observation by MAGIC, unfortunately still no detection, But we have the biggest chance as long as CTA will start.

## Slide 62
Thank you !!!