## Slide 1: Infinipix DEPFETs (for the ATHENA project)
Seeon, May 2014
Alexander Bähr
Max-Planck-Institute f. extraterrestr. Physics
Notes: The HLL develops and produces silicon-base radiation detectors. One of these devices is the DEPFET active pixel sensor.

## Slide 2: The ATHENA mission
-next generation x-ray observatory
-designed to observer the hot and energetic universe
payload:
X-IFU (Transition Edge Sensor)
WFI (large area DEPFET sensor)
Notes: built-in shutter for optical and x-ray applications
with rise time of 100ns

## Slide 3: WFI design and key parameters
parameter | characteristic
energy range | 0.1 – 15keV
energy resolution | <150 eV (FWHM) @ 6keV
Field of View | 40‘x40‘ (baseline) 50‘x50‘(goal)
angular resolution | <5 arcsec
array format | central chip: 256x256 outer chips: 4x 448x640 (baseline) 4x 576x768 (goal)
pixel size | central chip: 100x100µm² outer chips: 130x130µm²
detector area | 14.1x14.1cm² (baseline) 17.5x17.5cm²(goal)
fast timing and high count rate capability | window mode: 20µs (baseline) 10µs (goal) 1 Crab>80% throughput<5% pile up
Surpassing all existing x-ray facilities by at least a factor of 2 in field of view, timing and count rate capability
Notes: built-in shutter for optical and x-ray applications
with rise time of 100ns

## Slide 4: DEPFET principle
p-MOSFET build on depleted bulk
charge collected in „internal gate“
causes current modulation
additional properties possible
  nonlinear signal response
  repetetive readout of charge
  built-in shutter
combined sensor and first amplifier
analog charge storage
usable as base cell for Pixel sensor
Notes: p-channel MOSFET
build on high resistive bulk
deep n implantation underneath gate forms potential minimum for e-
charge removed by applying positive voltage to clearstructure
-sensitivity over the whole bulk thickness
-excellent energy resolution
-geometry adaptable to demands

## Slide 5: DEPFETs for ATHENA
switching-asics
switching-asics
read-out-asics
matrices for spatial resolving spectroscopy:
->read out row wise in parallel by ASTEROID-ASIC
->flexible adressing using SwitcherS
->usually read out in a rolling shutter mode
typical performance
FWHM< 130eV @5.9keV
P/B ~ 3000

## Slide 6: window mode
switching-asics
switching-asics
read-out-asics
->out of time events cause so called misfits
->generates additional „background“
dominant at fast timings
trapezoidal weighting of DEPFET signal
matrices for spatial resolving spectroscopy:
->read out row wise in parallel by ASTEROID-ASIC
->flexible adressing using SwitcherS
->usually read out in a rolling shutter mode

## Slide 7: effect of misfits
signal processing of 4.2µs
P/B=280, FWHM=129eV @15µs signal integration
P/B=1600, FWHM=133eV @125µs signal integration
misfitbackground
->solution:
supression of charge collection during device readout

## Slide 8: gateable DEPFET
based on circular DEPFET
provides built in shutter by addition of two contacts
results of previous studies:
shutter speed in the order of 100ns (10%-90%)
charge suppression <
testsdevices show excellent spectral performance

## Slide 9: gateable DEPFET
signal processing of 4.2µs
normal operation: P/B=280, FWHM=129eV
gated operation: P/B=3100, FWHM=129eV
signal processing of 4.2µs
15µs signal integration: P/B=3100, FWHM=129eV
125µs signal integration: P/B=11000, FWHM=133eV
misfitbackground
->electrons arriving during readout are lost: ->dead time
->solution:
implement storage

## Slide 10: Infinipix
gate 1
spacer
spacer
gate 2
drain 2
drain 1
drift ring
drift ring
source
0V
-5V
-7V
-7V
5V
-5V
0V
0V
5V

## Slide 11: Infinipix
insensitve
sensitive
gate 1
spacer
spacer
gate 2
drain 2
drain 1
drift ring
drift ring
source
0V
-5V
-7V
-7V
-5V
0V
0V
5V
insensitve
sensitive
5V

## Slide 12: Infinipix: first results
measurement sequence
  DEPFET 1 and 2 are alternating sensitive
  while 1 is collecting arriving charge 2 is read out
  while 2 is collecting arriving charge 1 is read out
Single pixel exposed to Fe55:
  gain nearly identical
  no negative misfits
    shutter functional
    suppression <

## Slide 13: Infinipix: timing
shutter speed<200ns
suppression<

## Slide 14: Infinipix: charge handling
suppression < for up to 50 pulses
=23500e
single pulse = 470e

## Slide 15: Summary
ATHENA fast sensor requirements:
20µs window mode (aim of 10µs)
single row processed in 2.5µs
circular DEPFET, window operation:
high number of MISFIT events
limited sensitivity
(high background)
gateable DEPFET:
MISFIT suppression
high sensitivity
dead time equal to
INFINIPIX DEPFET:
However:
-Infinipix DEPFET operates nicely
->shutter speed < 200ns
->charge suppression <
->charge handling ()
prototype devices functional:
-technology not optimized:
->limited charge handling capacity
->affects the charge suppression

## Slide 16
Thanks for your attention

## Slide 17
Any Questions?

## Slide 18: Outlook
-further measurements
-spectroscopic measurements
->Matrices (32x32 Pixel)
-setup in preparation
->Macropixel (10mm² collection area)
-simulations optimizing
-suppression
-shutter timing
-charge handling
Notes: Further measurements will cover a deeper investigation of timing performance as well as spectroscopic measurements. Matrices using Blindgate Pixel as base cell to form a 64x64 Pixel detector will be tested.
Further measurements will also be compared to simulations. A study of geometry optimizations is ongoing. New concept.

## Slide 19: DEPFETs are or will be used in
BepiColombo
the MIXS instrument
planetology
ATHENA
Wide Field Imager (WFI)
x-ray astronomy
BELLE II
PXD sensor
particle physics
XFEL
DSSC sensor
free electron laser
Notes: built-in shutter for optical and x-ray applications
with rise time of 100ns

## Slide 20: gateable DEPFET
Qd(t)
blind
blind gate
signal(t)
p+ drain
p+ source
FET gate
n+ clear
clear gate
drain
sensitive state
surface
potential
gate
blind gate
source
blind

## Slide 21: gateable DEPFET
Qd(t)
blind
blind gate
signal(t)
p+ drain
p+ source
FET gate
n+ clear
clear gate
drain
insensitive state
surface
potential
gate
blind gate
source
blind
sensitive state