## Slide 1: SWITCHER

## Slide 2: SWITCHER
SWITCEHR chips generate fast high-voltage (10 ns into 70 pF – now 100pF) pulses of up to 20 V amplitude to activate gate rows and to clear the internal DEPFET gates.
The latest SWITCHER version is implemented in HV AMS 180nm technology.
One SWITCHER will be able to address 32 different DEPFET matrix segments (row groups), for this purpose it will have 32 channels with a clear- and a gate-driver each.
Problem: make radiation tolerant high voltage drivers
SWITCHERBv1 in 350nm AMS
(radiation tolerant layout)
SWITCHER in 180nm AMS
(standard layout)

## Slide 3: Block scheme
32 high-voltage channels (level shifters) that generate the high-voltage signals.
Low voltage control block (based on shift register) used to select the high-voltage channels.
Voltage regulator that generates 4 high-voltage supplies out of two main ones.
JTAG slow control
Fast control uses four signals: CLK, Sin, StrGate, StrClear !
LV Ctr.
SERIN
SEROUT
STRG
STRC
HV Chan.
GHi, GLo
CHi, CLo
CLK
FF
FF
FF
FF
StrGB
CCLK or StrClr
Volt. Regulator
Slow control
NoisyEn3
NoisyEn0
FF
Blind mode control
FF

## Slide 4: Block scheme
Noisy mode (blind mode) control
LV Ctr.
SERIN
SEROUT
STRG
STRC
HV Chan.
GHi, GLo
CHi, CLo
CLK
FF
FF
FF
FF
StrGB
CCLK or StrClr
Volt. Regulator
Slow control
NoisyEn3
NoisyEn0
Blind mode control
FF
FF

## Slide 5: High-voltage driver
The outputs of high-voltage channels switch between upper (CHI, GHI) and lower voltages (CLO, GLO), respectively
Voltage swing 20V
Hi/Lo versus substrate potential up to 50V
The low voltage control block and the slow control part are supplied by an additional ”floating” 1.8V supply (GNDD, VDDD).
Channels are activated one after other by means of a shift register
”1” is clocked through the channels.
Several chips can be daisy chained by connecting the serial output to the serial input of the next chip.
The chip is bump bonded to the sensor.

## Slide 6: High-voltage driver
High-voltage channel - main parts:
U-I (single ended to differential) converter C
High-voltage power transistors Tp and Tn.
Floating-logic gate control blocks.
Low power consumption – sleep mode.
“Break before make” feature
C
0V
1.8V
C/GHI
C/GLO
1.8V
1.8V
off
on
on
off
HVOut
LVIn
Sleep
LV ctrl.
gate control block
Tp
Tn
C/GLO0
C/GHI0
GNDD
VDDD

## Slide 7: High-voltage driver
The CMOS-to-differential convertor - C uses the ’floating’ 1.8V supply and receives two input signals, Sleep and LVIn from LV control.
High-voltage power transistors Tp and Tn can sustain high drain-gate and drain-source voltage The gate-source voltage must be within 1.8V. The on-resistance of both devices is about 20Ω for VGS=1.8V.
The gate control blocks use four high-voltage supplies
C
0V
1.8V
C/GHI
C/GLO
1.8V
1.8V
off
on
on
off
HVOut
LVIn
Sleep
LV ctrl.
gate control block
Tp
Tn
C/GLO0
C/GHI0
GNDD
VDDD

## Slide 8: High-voltage driver
Working principle…
If the differential convertor receives positive input LVIn, it generates a current through OutP
Tp off, some moment later Tn on
During level transitions the conducting power transistor is switched off before the inactive one turned on. This avoids transient shorts between C/GHI and C/GLO.
C
0V
1.8V
C/GHI
C/GLO
1.8V
1.8V
off
on
on
off
HVOut
LVIn
Sleep
LV ctrl.
gate control block
Tp
Tn
C/GLO0
C/GHI0
GNDD
VDDD

## Slide 9: High voltage channel – transistor schematic
Tdiffn
Tdiffp
Tdion
Tdiop
Idiff
Tp
Tn
Toffp
Tonn
Tswn
Toffn
Tonp
Tswp
Tdion2
n1
n2
n3
D1
Inv3
D2
Buff2
Buff1
HVOut
LVIn
C/GHI
C/GHI0
C/GLO0
C/GLO
GNDD
VDDD
p1
p2

## Slide 20
Tp
Tn
n1
n2
p1
p2
Buff2
Buff1
Idiff

## Slide 21: High-voltage driver
It is important to note. Tp and Tn are large transistors and they have large gate capacitances.
Therefore buffers Buf1 and Buf2 have to be properly dimensioned to enable fast discharge of the Tp and Tn gate-capacitances.
The switching speed depends also on Idiff value since the charging of p1 and n1 node capacitances is performed by constant currents generated by Tonp and Toffp.
A larger Idiff increases the static power consumption of the circuit.
To save the power, we decrease Idiff when circuit is in idle state - if we do not switch between states, only a small current is enough to assure that internal voltages are well-defined.

## Slide 22: LV-control
The schematic of the digital LV-control block
StrGate signal is used to activate the channel that is currently being selected by the shift register.
If StrGate is not issued between two CLK signals, one channel will be skipped.
GateOn is activated at the leading StrGate edge and deactivated either at the next leading StrGate edge or at the falling CLK edge

## Slide 23: Layout of the chip
…
3625m
1470m
JTAG
HV channel
Volt. Regulator
LV ctrl.
Prot. Diodes
LVDS receivers
Bump pads

## Slide 24: Regulator
hi
hi0
lo0
lo
ref
sub
1.8
1.8
1.8
Power T
Power T

## Slide 25: Gated Mode

## Slide 26: Gated mode
The channels are divided into 4 groups, 8 channels each.
These groups enter the blind (gated, noisy bunch) phase one after another to avoid high clear currents when clear signals are set high.
The controlling of the SWITCHER is performed using 4 signals StrClr, StrGate, CLK and Sin, as so far.
The activating of blind phase is initiated by the combination CLK or StrClr at the negative edge StrGate that in normal operation does not occur. This signal sequence can be produced without influencing of SWITCHER outputs in any moment (cycle)
The switching of segments one after another is realized with a shift register.
During the blind phase the LV control logic of the channel operates in a slightly different way than that during the normal phase – the control sequence should be slightly adjusted.
Gated-mode operation requires a slightly modified sequence - all control signals except StrClear can be derived from 50MHz clock.
There are two interesting gated readout modes.
Mode 1: Readout does not stop during blind phase.
Mode 2: Readout is stopped during blind phase.

## Slide 27: LV-control
…
FF
Latch
OR
AND
StrGate
CLK
StrClr
LV control in channels
ClrOnNormal
A
B
GateOn = B+ A & !NoisyEnableAll
ClearOnB = NoisyEnable#i ? !A : ClrOnNormal
FFN1
StrGB
Clk Or SrtClr
NoisyEn#1
FFN2
StrgGB
NoisyEn#2
Clk
FF2
CLK
FF0
CLK
SIN
SOUT
GateOn
FF1
CLK
OR
FF0
FF1
FF2
Blind mode control
NoisyEnableAll = NoisyEnable#1 + NoisyEnable#2
GateOnNormal

## Slide 28: Readout does not stop during blind phase
off
off
gate
on
on
CLK
StrClr
StrGate
gate
Noisy Enable#1
S
S
S
S
S
S
clr
Clr1
GateOn1
Clr2
GateOn2
Clr3
GateOn3
Clr4
GateOn4
Clr5
GateOn5
Clr6
GateOn6
Blind mode
Bl. mode
Blind mode
Blind mode
Noisy Seqence
Blind mode
True reset
True reset
True reset
clr
Noisy Enable#2
gate
gate
Noisy Bunches

## Slide 29: Readout does stops during blind phase
---
off
off
on
on
CLK
StrClr
StrGate
Noisy Enable#1
S
S
S
Clr1
GateOn1
Clr2
GateOn2
Clr3
GateOn3
Clr4
GateOn4
Clr5
GateOn5
Clr6
GateOn6
Blind mode
Noisy Seqence
Blind mode
True reset
True reset
Noisy Enable#2
S
S
S
A
B
C
D
E
True reset
X
Noisy Bunches

## Slide 30: High current protection
Despite of segmenting, switching of many clears simultaneously can lead to high instantaneous currents (>1A) that could damage metal lines and bumps.
The following circuit reduces the slope of rising and falling clear edges when many channels are simultaneously turned on/off, while the slope remains unaffected when only one channel is active.
1.5 Ohms in last metal layer
1.5 Ohms in last metal layer

## Slide 31: Normal sequence

## Slide 32: Normal operation of the SWITCHER
Normal mode operation
The following inputs are used:
StrGate
StrClear
CLK
Sin
The rising edge of StrGate (ON) and the falling CLK edge (OFF) control the gate signal overlap
off
off
on
on
CLK
StrClr
StrGate
S
S
Clr1
GateOn1
Clr2
GateOn2
off
on
S

## Slide 33: Normal operation
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
High bias current -> delay of one sample period

## Slide 34: Normal operation
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.

## Slide 35: Normal operation
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.

## Slide 36: Normal operation
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.

## Slide 37: Normal operation
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G

## Slide 38: Normal operation
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G

## Slide 39: Normal operation
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G

## Slide 40: Gated mode sequence with RO

## Slide 41: Gated mode operation with RO
off
off
gate
on
on
CLK
StrClr
StrGate
gate
Noisy Enable#1
S
S
S
S
S
S
clr
Clr1
GateOn1
Clr2
GateOn2
Clr3
GateOn3
Clr4
GateOn4
Clr5
GateOn5
Clr6
GateOn6
Blind mode
Bl. mode
Blind mode
Blind mode
Noisy Seqence
Blind mode
True reset
True reset
True reset
clr
Noisy Enable#2
gate
gate
Noisy Bunches
The falling StrG edge at CLK=1 starts the gate mode, in reality there is a StrGate-T delay

## Slide 42: Gated mode operation with RO
Block schematics.
G
C
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G
C
C
C
C
C
C

## Slide 43: Gated mode operation with RO
Block schematics.
G
C
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G
C
C
C
C
C
C
And the clear is done…

## Slide 44: Gated mode operation with RO
Block schematics.
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
C
C
C
G
G
G
C

## Slide 45: Gated mode operation with RO
Block schematics.
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
C
C
C
G
G
G
C
And the clear is done…

## Slide 46: Gated mode operation with RO
Block schematics.
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
C
C
C
G
G
G
C
Clear is not on

## Slide 47: Gated mode operation with RO
Block schematics.
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
C
C
C
G
G
G
C
Clear is on

## Slide 48: Gated mode operation with RO
Block schematics.
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
C
C
C
G
G
G
C

## Slide 49: Gated mode operation with RO
Block schematics.
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
C
C
C
G
G
G
C
Clear is on

## Slide 50: Gated mode operation with RO
Block schematics.
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
C
C
C
G
G
G
C
G
C

## Slide 51: Gated mode operation with RO
Block schematics.
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
C
C
C
G
G
G
C
G
C
Clear is on

## Slide 52: Gated mode operation with RO
Block schematics.
G
C
G
G
G
G
G
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
C
C
G
G
G
C
G
C
G
C

## Slide 53: Gated mode operation with RO
Block schematics.
G
C
G
G
G
G
G
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
C
C
G
G
G
C
G
C
G
C
Clear is on

## Slide 54: Gated mode operation with RO
Block schematics.
G
C
G
G
G
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
G
G
G
C
G
C
G
C
G
C

## Slide 55: Gated mode operation with RO
Block schematics.
G
C
G
G
G
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
C
G
G
G
C
G
C
G
C
G
C
Clear is on

## Slide 56: Gated mode operation with RO
Block schematics.
G
C
G
G
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
G
G
C
G
C
G
C
G
C
G
C

## Slide 57: Gated mode operation with RO
Block schematics.
G
G
G
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
G
G
C
G
C
G
C
G
C
G
C
C

## Slide 58: Gated mode operation with RO
Block schematics.
G
G
G
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
G
G
C
G
G
C
G
C
G
C
C
C
C

## Slide 59: Gated mode operation with RO
Block schematics.
G
G
G
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
G
G
C
G
G
G
G
C
C
C
C
C
C

## Slide 60: Gated mode operation with RO
Block schematics.
G
G
G
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
C
C
G
G
C
G
C
G
C
G
C
G
C
C

## Slide 61: Gated mode sequence without RO

## Slide 62: Gated mode operation without RO
off
off
on
on
CLK
StrClr
StrGate
Noisy Enable#1
S
S
S
Clr1
GateOn1
Clr2
GateOn2
Clr3
GateOn3
Clr4
GateOn4
Clr5
GateOn5
Clr6
GateOn6
Blind mode
Noisy Seqence
Blind mode
True reset
True reset
Noisy Enable#2
S
S
S
A
B
C
D
E
True reset
X
Noisy Bunches
The falling StrG edge at StrClr=1 starts the gate mode, in reality there is a StrGate-T delay

## Slide 63: Gated mode operation without RO
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G

## Slide 64: Gated mode operation without RO
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G
Note, gated mode sequence also needs to turn on the high current biasing –> one sample period delay

## Slide 65: Gated mode operation without RO
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G

## Slide 66: Gated mode operation without RO
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G

## Slide 67: Gated mode operation without RO
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
C
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G

## Slide 68: Gated mode operation without RO
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G
C
C

## Slide 69: Gated mode operation without RO
Block schematics.
G
C
G
C
G
C
G
C
G
C
G
C
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G
C
C

## Slide 70: Gated mode operation without RO
Block schematics.
G
C
G
C
G
G
G
C
G
C
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G
C
C
C
C

## Slide 71: Gated mode operation without RO
Block schematics.
G
C
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G
C
C
C
C
C
C

## Slide 72: Gated mode operation without RO
Block schematics.
G
C
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G
C
C
C
C
C
C

## Slide 73: Gated mode operation without RO
Block schematics.
G
C
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G
C
C
C
C
C
C
Junk charge is cleared

## Slide 74: Gated mode operation without RO
Block schematics.
G
C
G
C
G
G
G
G
G
G
C
Channel control
Gated mode control
JTAG
Bias DAC
Power reg.
G
C
C
C
C
C
C

## Slide 75: SWITCHER: Measurements

## Slide 76: SWITCHER: Measurements Gated Mode

## Slide 77: Gated mode operation with RO
off
gate
on
CLK
StrClr
StrGate
gate
clr
clr
gate
gate
off
on
normal
Gate on
Gate on
Gate off
Inter

## Slide 78
Startup
Standard seq.
Gated On Seq.
Gated On
Gated Off
Intermediate
JMPnoTrig
LdCnt 5
JMPnoCnt0
DecCnt
LdCnt 5
JMPnoCnt0
DecCnt
5x
5x
#3: unused, 2: clear, 1: gate, 0: clock |  |  | 
0,0,1,0 #activate row 0 |  |  | 
0,0,1,0 |  |  | 
0,0,1,0 |  |  | 
0,0,1,0,addr35,keepGoing,00 |  |  | 
0,0,1,0 |  |  | 
0,0,1,0 |  |  | 
0,0,1,0 |  |  | 
0,0,1,0,addr36,keepGoing,00 |  |  | 
0,0,0,0 #clock cycle for shifting to next row |  |  | 
0,0,0,0 |  |  | 
0,0,0,0 |  |  | 
0,0,0,0,addr37,keepGoing,00 |  |  | 
0,0,0,0 |  |  | 
0,0,0,0 |  |  | 
0,0,0,0 |  |  | 
0,0,0,0,addr38,keepGoing,00 |  |  | 
0,0,0,1 |  |  | 
0,0,0,1 |  |  | 
0,0,0,1 |  |  | 
0,0,0,1,addr39,keepGoing,00 |  |  | 
0,0,0,1 |  |  | 
0,0,0,1 |  |  | 
0,0,0,1 |  |  | 
0,0,0,1,addr3A,LDcnt,05 |  |  | 
0,1,0,1 |  |  | 
0,1,0,1 |  |  | 
0,1,0,1 |  |  | 
0,1,0,1,addr3B,JMPnoTRIGGER,35 |  |  | 
0,1,0,1 #no clear row 0 |  |  | 
0,1,0,1 |  |  | 
0,0,0,1 |  |  | 
0,0,0,1,addr3C,keepGoing,00 |  |  | 
0,0,1,0 #activate row 1 |  |  | 
Run - Program

## Slide 79
Startup
Standard seq.
Gated On Seq.
Gated On
Gated Off
Intermediate
5x
5x
Run - Program

## Slide 80
Startup
Standard seq.
Gated On Seq.
Gated On
Gated Off
Intermediate
5x
5x
Run – Program: Clear #1

## Slide 81
Startup
Standard seq.
Gated On Seq.
Gated On
Gated Off
Intermediate
5x
5x
Run – Program: Clear #2

## Slide 82
Row #1

## Slide 83
Row #2

## Slide 84
Row #3

## Slide 85
Row #4

## Slide 86: SWITCHER: Measurements Rise Time

## Slide 87: Rise Time Measurements
Rise time and fall times are ~ 6ns for 100pF load and 9V amplitude

## Slide 88: Rise Time Measurements
High voltage clear pulse is possible:
30V clear high, 10V clear low
20V
90pF
30ns

## Slide 89: Rise Time Measurements – irradiated chip
Irradiation to 21MRad – 150pF load
We need to increase size of the power transistors
Can be done, but the chip size will increase by 100um

## Slide 90: Plans
Following changes are needed
Resize the high voltage transistors to improve speed by factor of 2
Termination resistors on SIn, CK, StrobeC and StrobeG inputs should be switchable on chip level
Termination resistor on Sin should be on in the first chip
Termination resistor on CK, StrobeC and StrobeG should be on in the last chip
Bumping can be done on die level by PacTech
Ordering of wafers within MPW may be possible in 2015
In this case wafer level bumping is possible

## Slide 91: Backup slides

## Slide 92: Sequencer

## Slide 93: Sequencer
Sequencer based on RAM.
Startup and run sequence.
The purpose of the startup sequence is to write 16 zeros in the switcher shift register. The run sequence is the normal sequence.
One RAM-line is accessed with a dedicated RAM address. It contains 4 sub-lines, each with 4 bits (Ck, StrG, StrC and NU).
Line is loaded every 10 ns to the serializer.
Serializer sends one sub-line every 2.5 ns to the switcher inputs.
Cnt
CkB
SIn
Address Cnt
Startup
Sequence
Run
Sequence
Line
Sub-Line
Ck, StrG, StrC

## Slide 94: Address Flow
Upon the reset of the FPGA, the RAM-address is zero.
The address counter performs the startup sequence (0 -> start address-1).
  The “start address” is the address of the first line of the run sequence.
  The “stop address” marks the end of the run sequence.
  These address-values are calculated in software from the sequence lengths, and stored in two FPGA registers.
When the system is started (RUN high), the addresses loop from the start to the stop address.
When the system is stopped, the address counter continues increasing to the stop address, jumps to zero and performs the startup sequence.
Important: Sin signal is not generated by the track RAM. This signal is generated automatically before every 16-th Ck-signal edge. The clock counter is incremented by CkB.
0
Start
Stop
Startup Sequence
Run Sequence

## Slide 95: New Sequencer
Added “program-RAM”, two-bytes wide, clocked with the same read clock and addressed with the same address as the track-RAM.
Program-data-byte and the program-ID-byte.
The program-lines influences the address counter.
The address counter behaves as the old one if the so called “keep going” command is stored in the current line.
If one of the jump commands is stored, the value from the program-data-byte is written into the address counter. This causes a jump to a certain program line.
Address Cnt
Track RAM
Program RAM
ID
Data
Loop Counter

## Slide 96: New Sequencer – Compatibility
When RUN is off, the commands do not influence the address flow.
Old Jochen’s startup sequence (without commands) can be still used.
One command-line is assigned to each RAM-line or to every fourth sub-line. We cannot jump in between the sub-lines.
The program jumps from the stop address to the start address when RUN is high, and from the stop address to zero and then continuously to start-1 when RUN=0.
Address Cnt
Track RAM
Program RAM
ID
Data
Loop Counter

## Slide 97: New Sequencer – Commands
“keepGoing”,”data” – does nothing.
“JMPnoTRIGGER”,”data” – if no trigger-signal arrived, the address counter is written with “data”.
“JMPcntNoZERO”,”data” – if the “loop-counter” is not zero, the address counter is written with “data”.
“LDcnt”, ”data” - the loop-counter is loaded with the value ”data”.
“DECcnt”, ”data” - the loop-counter is decremented.
“JMP”,”data” – unconditional jump to address “data”.
Address Cnt
Track RAM
Program RAM
ID
Data
Loop Counter
Trigger Flag
Trg

## Slide 98: New Sequencer – Commands (2)
The command JMPnoTRIGGER is used to make the “endless” loop that is performed during the normal operation (non-gated phase), before the trigger signal arrives.
  The trigger is the OR between the TLU-/Software- and Autotrigger.
  In future we will have a separated trigger for gated mode.
  The trigger is stored as a trigger flag until the next JMPnoTRIGGER command is performed. The trigger flag is then deleted.
The commands JMPcntNoZERO, LDcnt and DECcnt are used to allow n-times looping through a certain program block. Can be used to make a gated mode sequence.
Unconditional jump JMP is used to return to the main program. Not necessary.
Address Cnt
Track RAM
Program RAM
ID
Data
Loop Counter
Trigger Flag
Trg

## Slide 99: Run-Sequence File
Format of a line:
B,B,B,B,addrXX,[keepGoing or JMPnoTRIGGER or JMPcntNoZERO or LDcnt or DECcnt or JMP] YY
XX are two hexadecimal numbers denoting the line-address as in the RAM
YY are two hexadecimal numbers that are program-data.
Important:
All JMP commands affect the address counter with one clock delay.
If we want to jump from the address n to the address m, we must write the JMP command in the RAM-line with the address n-1.
FPGA’s RAM generates the addressed line one clock later.