## Slide 1: CERN preliminary beam test Results Nov 2014
Hao Yin and Benedikt Würkner on behalf of the SVD Group at HEPHY
7th Belle II VXD Workshop, Prague

## Slide 2: Overview of the Setups
H6A - upstream
SVD L3-L6 Stack
CO2 Cooling
FADC and FADC Controller firmware with new functionalities
Trigger issued by coincidence NIM module.
H6B - downstream
AIDA-Telescope with HEPHY SVD3 Setup
For Belle2 tests only available on Sunday

## Slide 3: H6A Belle2 SVD Stack Setup

## Slide 4: H6A Belle2 SVD Stack Closeup

## Slide 5: H6A Belle2 SVD Stack Closeup

## Slide 6: Beam Profile (I)
The hit maps shows a dip at about the same position. The cause is still unknown.

## Slide 7: Beam Profile (II)

## Slide 8: TDC values
TDC values implemented by Katsuro Nakamura.
Sample rate of the trigger is ⅛ of system clock at 32 MHz
The TDC value is saved in the main header of the FADC output.
Each line represents the normalized mean shaper pulse at a different TDC value
The shift of the maximum is clearly visible.
Notes: figure:

## Slide 9: Signal to Noise
The noise of each sensor at different temperatures was about the same.
Pedestal significantly increases with the temperature.
Cooling to -20°C improved the SNR by about 5
The relative improvement seems to be consistent between CERN and DESY
k=mean(CERN-DESY)
k=[SNR/°C]
            k[cw1] = -0.0467
            k[cw2] = -0.0246

## Slide 10: Noise L3 n-side
At DESY external noise caused a slope of strip signal of each strip within at least one frame. The resulting different CMC values distorts the shaper pulse sampled using 6 frames of data. This issue is still under investigation and the progress was presented by the previous talk(Thalmeier).
Notes: Note: Hit time und particle signal distorted by ext. noise due to CMC at the same frame.

## Slide 11: Forward and Backward Modules

## Slide 12: Results of the FW&BW modules
3 runs targeting different areas
  003 - hitting APVs 0/1 on p-sides, 1/2 on n-sides
  004 - hitting APVs 1/2 on p-sides, 1/2 on n-sides
  005 - hitting APVs 2/3 on p-sides, 1/2 on n-sides
BW Module was flipped on p-side -> run003 hit only the not connected APVs 4&5
OldWedge APV0 damaged and deactivated

## Slide 13: FW Module results
n-side
p-side
run005
run005
run004
run004
No significant differences between runs in spite of shifting the beam spot

## Slide 14: Old Wedge results
n-side
p-side
run005
run005
run004
run004
No significant differences between runs in spite of shifting the beam spot

## Slide 15: BW Module results
n-side
p-side
run005
run005
run004
run004
No significant differences between runs in spite of shifting the beam spot

## Slide 16: Comparison of Old Wedge and FW
FW n-side
Old Wedge n-side
run 005
No significant differences between runs in spite of shifting the beam spot

## Slide 17: Noise map: wedge vs rectangular
Regular peaks caused by readout system. This was countered by the FIR filter not available in the SVD3 Setup
In the APVDAQ this is available
In the final system FIR is implemented in the FADC system
Run005 BW_p
Damaged area in the sensor causes failure in the CMC correction.
Run005 FW_p
Some damaged strips and but overall linear noise map

## Slide 18: Noise map: wedge vs rectangular
Slope in noise map caused by different PA length on the BW module
Caused by different strip length and PA length on the FW module
Run005 BW_n
Nice noise map only with the FIR filter visibly missing
Run005 FW_n
Slightly descending noise map shows the fact of changing strip length

## Slide 19: EUTelescope with FW&BW Modules

## Slide 20: Hit map of Wedge and FW&BW modules

## Slide 21: 3D hit map of Wedge and FW&BW modules

## Slide 22: Summary
Tested new functionalities of FADC and FADC controller
SNR shows same relative shift as at DESY
Hit map issue is still under investigation
Track reconstruction of FW&BW modules is pending
FW&BW modules were working properly