## Slide 1
Misc. Topics
Markus Friedl (HEPHY Vienna)
22 January 2015

## Slide 2
Introduction
FTB
Power Supply
Cables

## Slide 3
Introduction
FTB
Power Supply
Cables

## Slide 4: Introduction
I have asked colleagues for one slide:
  Wacek: FTB Status
  Francesco: Power Supply Tender Status
  Toru: Cable Supply Status
They all provided several slides
I summarize here
Original slides are uploaded to Indico as a detailed reference

## Slide 5
Introduction
FTB
Power Supply
Cables

## Slide 6: FTB Status
50 PCBs and parts handed over to assembly company
  To be completed in February
Total amount of final FTB boards: 62
  50 in production
  7 in Krakow
  2 modules at KEK (Nakamura-san)
  2 modules in Vienna
  1 module in Bonn (Michael Schnell)
At least 56 should be at KEK in the end
Shipping to KEK not clear yet

## Slide 7
Introduction
FTB
Power Supply
Cables

## Slide 8: Power Supplies Status
TWiki page:
  https://belle2.cc.kek.jp/~twiki/bin/view/Detector/SVD/PowerSupplies
Tender in second half of 2014
  CAEN won
  Delivery expected in second half of 2015
  Additional channels for n-side separation voltage possible
Product | Description | Nch/ board | Qty base | Spare | Total boards | Total ch
SY4527 | Universal multichannel Power supply system - Basic 600W |  | 2 | 1 | 3 | 
A4533 | Optional double power supply unit 1200W |  | 2 | 1 | 3 | 
A2519A | (LV) LV Channels 15V 5A (50W) - DB37 conn - Individually floating (8ch) | 8 | 12 | 3 | 15 | 120
A1510 | (SEP) HV Channels 100V 10mA floating (12ch) | 12 | 2 | 0 | 2 | 24
A1519B | (HV) HV Channels 250V 0.1/1mA floating (12ch) | 12 | 4 | 1 | 5 | 60

## Slide 9
Introduction
FTB
Power Supply
Cables

## Slide 10: Cable Supply Status
Hybrid cables (hybrid to DOCK, 2.5m)
  Halogen-free small-pitch twisted cables from CERN (obsolete)
  Cable assemblies made by Japanese company until March
  L3 cables are supplied by HEPHY (soldered to hybrids)
FADC cables (DOCK to FADC, 13m)
  Halogen-free small-pitch twisted cables from Amphenol
  Cable assemblies made by Japanese company until March
Open items:
  Power supply to DOCK cables (LV + HV)
  Cost estimate: ~25k€