OPI Guidelines
EARLY DRAFT
Michael Ritzert
michael.ritzert@ziti.uni-heidelberg.de
25.03.2015

---
Introduction
Plans for this workshop:
  - Presentations of current OPIs
  - Point-by-point discussion about OPI guidelines
  - Convert discussion notes into draft guideline document.
    (Wednesday morning)
  - Apply the new guidelines to a couple of existing OPIs
OPI Guidelines — DRAFT —

---
OPI Content
OPI hierarchy
    - TOP: VXD overview. Overall health.
    - PXD/SVD
      - Layer
        - Ladder => link to power supply, full temperature overview
          - Module (expert view)
            - ASIC (expert view)
      - PS
      - DAQ
    - CO2, env
    1. (Note: Other views may exist, but only one should be linked from the start OPI.)
Shifters are able to see everything. Write access is restricted.

---
Task-oriented Views
They do exist.
Most / many are expert views.
Opened on demand outside the OPI hierarchy.

---
VXD DQM

---
OPI Layouts
We need clear guidelines how to lay out OPIs.
(Maybe two options, similar to „master slides“.)
E.g.
Top
Back
Header
Position in hierarchy tree (ladder #, etc.)
Action Buttons (“Reset”, “Calibrate…”)
Navigation
Status Overview
Controls
Relevant
Plots
/
Messages

---
OPI Layouts II
No fixed positions down to absolute positions in pixels,
but „Actions buttons go on the bottom.“
Plan:
  - Make a list of elements that are frequently on a page.
  - Place them creating as few layout variants as possible.

---
Colors
Red/orange are reserved for alarm conditions.
They must not be used for any other purpose.
⇒	Whenever you see any of these colors, you know there is a problem.
Where possible, use symbolic names instead of manually picking colors. Easier to change should we decide on a guideline update.
  - Same for fonts.

---
Background Color
UNICOS uses a fairly dark gray: roughly #424242
Test
Test

---
OPI size
Suitable for many laptop models.
1072x600 = next “standard” resolution (WSVGA) below 1280x800 – window borders, toolbars, etc.
Or a bit less wide to allow for several OPIs side-by-side on full HD screens?

---
No Surprises
The same order of buttons everywhere (“OK before Cancel”).
Buttons should clearly indicate the associated action.
  - Update the label when the action changes.
Distinguish normal text from labels that update, links to click, ….
  - Underline
  - Images as links are fine, when “intuitive” (e.g. clickable detector images)
Display data in directly usable form
  - Use the units you would use to communicate with colleagues
    (e.g. temperature in °C, even if the hardware gives you K).
  - Always display units
  - Use (Japanese) local time.

---
Widgets
Use the correct widget type for each situation.
  - Widgets that imply write access vs. read-only widgets.
    e.g. no (disabled) checkbox for a readonly PV ⇒ use a LED.
  - Graphic widgets instead of plain text where the distance to alarm thresholds is important.
  - Which widget carries more information?
When using time series graphs, consider putting the most important value next to it.
How to represent alarms?
  - Colors! Acoustic signal! Blink! Make people notice!
  - Extra widgets next to the values?

---
Statemachines
The CERN way to display statemachines is very clear and at the same time contains all essential information for debugging.

---
UNICOS Statemachine Example I

---
UNICOS Statemachine Example II

---
Terminology
Use the same terms for the same functionality in all places.
No „Quit“ vs „Exit“
  - “Close” a window.
  - “Back” / “Forward” for navigation in the history of a tab.
  - “Up” / “Home” to move up in the device hierarchy.
  - “Next” / “Previous” to make within one level of the hierarchy:
    “next ladder” when viewing a ladder.
„Search“ vs „Find“ situations.
Try to avoid “Reset”. Can be more precise:
  - “Reprogram” for FPGAs, etc.
GateOn/Off vs GateHigh/Low.
Use short but precise texts.

---
Other
Documentation link
  - Right side of the header, links to wiki page
Avoid modal dialogs.

---
Links
“JCOP Framework Guidelines”
https://edms.cern.ch/file/1100577/1.3/jcopFrameworkGuidelines.pdf
„Philosophy of ITER Operator User Interface“http://www.iter.org/doc/www/content/com/Lists/WebsiteText/Attachments/94/SD07_v2_0.pdf
“Guidelines For Designing User Interface Software”
http://hcibib.org/sam/index.html

---
Thank you!