## Slide 1: 9th Belle II VXD Workshop 13-15 January 2016 IFIC-Valencia Status from IBBelle

## Slide 2: CO2 cooling How? The operating principle, born in Nikhef for AMS Tracker and LHCb Velo
large latent heat of evaporation => small flows => small pipes
low liquid viscosity => small pressure drops => small pipes
high heat transfer coefficient & thermal stability
operating temperature range (+20/-400C)
C. Bortolin(a), O. Crespo-Lopez(a),J.Daguin(a), J. Godlewski(a), J. Noite(a), M. Ostrega(d), S. Pavis(a), P. Petagna(a), H. Postema(a), P. Tropea(a), B. Verlaat(b), S. Vogt(c), M. Zimny(d), L. Zwalinski(a).
(a) European Organization for Nuclear Research (CERN), CH-1211 Geneva 23, Switzerland (b) National Institute for Subatomic Physics (NIKHEF) Amsterdam, NL 1098 XG 105, Netherlands (c) Max Planck Institute for Physics (MPI), Föhringer Ring 6, 80805 München, Germany (d) AGH University of Science and Technology, Al. Mickiewicza 30, 30-059 Kraków, Poland
CO2 plant must be capable of delivering the following capacity.
– 3.3 kW @ -42°C CO2 output.
– Mass flow: 14 to 28 g/s @ 12 bar dP

## Slide 3: CO2 plant P&I diagram

## Slide 4: IBBelle base frame
CO2 base frame for 1 unit

## Slide 5: CO2 base frame for 1 Unit see here on the CERN Unit

## Slide 6: CO2 UNIT Junction box Manifold box

## Slide 7: Freon system P&I diagram

## Slide 8: Orbital welding

## Slide 9: Akku Unit

## Slide 10: Akku Unit Helium leak test

## Slide 11: Akku Unit Helium leak test Test protocol

## Slide 12: AKKU dye penetrant

## Slide 13: Dye penetrant inspection
https://www.youtube.com/watch?v=-4DrzYRpyeY
Section of material with a surface-breaking crack that is not visible to the naked eye.
Penetrant is applied to the surface.
Excess penetrant is removed.
Developer is applied, rendering the crack visible.
Inspection steps
Pre-cleaning
Application of Penetrant
Excess Penetrant Removal
Application of Developer
Inspection
Post Cleaning

## Slide 14: AKKU dye penetrant Test protocol

## Slide 15: AKKU Pressure test
55 bar: deformations?
Gradual increase to 110 bar 30 min hold, according to Search deformations photo Pressure display.
Gradual increase to 160 bar, Keep 2h.
Keep reducing to 110 bar, 24h
Keep reducing to 60 bar, 24h
Photo with pressure gauge.

## Slide 16: AKKU Pressure test 0-55-110-160-110-60-0 bar

## Slide 17: AKKU Pressure test 160bar

## Slide 18: AKKU Pressure test 110bar

## Slide 19: AKKU Pressure test 60 bar

## Slide 20: AKKU Pressure test 110bar with leak

## Slide 21: AKKU Pressure test Test protocol

## Slide 22: AKKU Pressure test Test protocol

## Slide 23: AKKU Pressure test Test protocol

## Slide 24: AKKU Pressure test Test protocol

## Slide 25: CO2 Unit dye penetrant Helium leak test Pressure test

## Slide 26: CO2 Unit Insulating In work

## Slide 27: Chiller Unit READY byECR-Nederland BV

## Slide 28: Chiller Unit on the frame

## Slide 29: Chiller leak test Bought
refrigerant R-404a

## Slide 30: Manifold Boxes
In work

## Slide 31: Manifold Boxes Part 1 Helium leak test dye penetrant

## Slide 32: Manifold Boxes Part 1 dye penetrant

## Slide 33: Junction box Helium leak test Dye penetrant

## Slide 34: Junction box Pressure test

## Slide 35: Bypass

## Slide 36: Bypass

## Slide 37: IBBelle base frame
CO2 base frame for 1 Unit

## Slide 38
Thanks

## Slide 39
backup foils

## Slide 40: CO2 UNIT Fexline

## Slide 41: CO2 UNIT Fexline

## Slide 42: CO2 UNIT Fexline

## Slide 43: CO2 UNIT Dismountable &rotatable concentric joint

## Slide 44: CO2 UNIT Dismountable &rotatable concentric joint

## Slide 45: CO2 UNIT und AKKU UNIT Burst Disc 124-137bar von Swagelok SS-RDK-16-1900

## Slide 46: AKKU UNIT Safety Valve 110 bar von Parker HPRVS4F4F-EPR-K4-1595