## Slide 1: Ultra fast electron detectors – Edet_80k for the molecular movie –
Sascha Epp

## Slide 2: EDET team
Acknowlegements
HLL ► Ladislaw Andricek ● Martin Hensel ● Christian Koffmane ● Jelena Ninkovic ●Gerhard Schaller ● Martina Schnecke ● Florian Schopper ● Thomas Selle ● Andreas Wassatsch ● Christian Zirr
KIT ► Ivan Peric
USI ► Klaus Gärtner
MPSD ► Ibrahym Dourki ● Djordje Gitaric ● Sascha Epp ● R. J. Dwayne Miller ● Fabian Westermeier

## Slide 3: Electron diffraction
The wave-particle duality of particle beams
► We exploit the wave nature of the electron
► Need to detect electrons (sig.-to-noise)
● direct-hit detector
● in-direct hit detector
Diffraction out to less than 0.2Å!
< 0.1
► 0.1 A corresponds to 100 keV X-rays
► mass & charge -> penetration depth
► cross section -> 1e6 times larger
► scientist can do is 24/7

## Slide 4: Static & Dynamic
Time scales

## Slide 5
Experiments
Small scale & with e-
keV FED – solid state
keV FED – liquid phase
keV FED – gas phase
REGAE Diffraction
keV time-resolved TEM
REGAE Dynamic RTEM
REGAE 7 MeV

## Slide 6: TEM real space imaging
A movie like in cinema
3
2
1
4
4
3
1
2
Source: https://www-pls.llnl.gov

## Slide 7
Further Evolution in atom gazing: ……Solution Phase Dynamics
TEM nanocell with flow!
Christina Müller: U Toronto
Sercan Kescin, Stephanie Manz: MPSD
30 nm SiN membrane
H20 ->->->
100-1000 nm

## Slide 8: Static & Dynamic
base-pairing dynamics and ubiquitous nature of DNA interactions
Keskin et al. J. Phys. Chem. Lett. 2015, 6, 4487−4492
- 200 nm
► DNA origami
► Drug delivery
► DNA based electonic dev.

## Slide 9: From Belle PXD to EDet
Edet_1k
Edet_80k
► Development basis
posponed
Sensors in Aug.
Work on ► ASCIS, pixel design, system design, thermal design, mechanical design, radiation hardness
Work on ► ASICS: switcher, DCD, DMC (DHP)
Sensor & pixel design: thickness, size, charge handling System design: making the sum of components a useful unit , thermal design, Geant4 simulations of sensor response mechanical design

## Slide 10: EDet_80k
DEPFET direct hit
► 60 x 60 mm2 active area
► 1000 x 1000 px (4 chips)
► pixel size: 60 x 60 µm2
► direct electron detection
► full frame recording at 80kHz (for 100 frames) by 4-fold rolling shutter mode
512 x 512
512 x 512
512 x 512
512 x 512
► dead joining region < 2 mm
2 mm
► Thickness 50µm (30 µm)
► > 200 primaries of 300keV per pixel

## Slide 11: Timeline
revised
Last Milestone ► Switcher and Edet DCD (1st gen) are delivered from engin. run (April ’16)
March 2016 ► DEPFET production start (DH1k) (Phase III)
March 2016 ► Completion of sensor production (DH80k) (Phase IV)
July 2017 ► Completion of DH80k detector system (Phase VI)
Dec. 2017 ► Completion of sensor production (DH1k) (Phase V)
2018 ► Completion of DH1k detector system (Phase VII)
Next important step ► end of sensor production in August 2016 (10 wafers)
End 2016 ► submission of DMC chip (the DHP of Edet_80k)
End 2016 ► Dynamic measurement on small det. structures
End 2016 ► First large matrix assembly by Nov 2016 – system test with DHP
June 2017 ► Module 0 assembly
End 2017 ► Full quadrant assembly
Mid 2016 ► 1st stage mechanical design prototype at hand

## Slide 12
Thank you !!!

## Slide 13: Detector requirements
Can one single system serve all requirements?
Principally yes, but we make two different (similar) systems!
► Want fast detector…
as reasonably possible
► Excellent signal to noise
(single primary e- detection)

## Slide 16: Upcoming talks
revised
Last Milestone ► Sensor production of wafer has started at HLL (Oct. 2014)
March 2016 ► DEPFET production start (DH1k) (Phase III)
► around 10 wafers are in processing (for 50µm and 30 µm thick det.)
March 2016 ► Completion of sensor production (DH80k) (Phase IV)
July 2017 ► Completion of DH80k detector system (Phase VI)
Dec. 2017 ► Completion of sensor production (DH1k) (Phase V)
2018 ► Completion of DH1k detector system (Phase VII)
Next important step ► ASICSs: DCD, Movie Chip