## Slide 1: Status from IBBelle 20th International Workshop on DEPFET 2016

## Slide 2: CO2 plant P&I diagram

## Slide 3: Freon system P&I diagram

## Slide 4: CO2 UNIT Junction box Manifold box

## Slide 5: CO2 base frame for 1 Unit see here on the CERN Unit

## Slide 6: IBBelle

## Slide 7: Control Cabinet
by R.Sedlmeyer
S.Horn
Cabinet ready

## Slide 8: Control Cabinet Touchpanel

## Slide 9: IBBelle made tightness testing of CO2 Section and Chiller

## Slide 10: Akku Unit

## Slide 11: Akku Unit Cabinet

## Slide 12: Akku Unit filled with 14kg CO2

## Slide 13: CO2 Unit Lewa pump with oil filled and started for the first time

## Slide 14: Chiller Unit READY and filled with 404a waiting for software adaptation from CERN
Still we have problems to address, the valves in the chiller and we do not know why.

## Slide 15: Chiller leak test

## Slide 16: Manifold Boxen
In work

## Slide 17: Manifold Boxen

## Slide 18: Manifold Boxen temperature sensor
In work

## Slide 19: Junction box

## Slide 20: Junction box

## Slide 21: flow reversal delivered valves on Tuesday

## Slide 22: Location of Junction box flow reversal

## Slide 23
IBBelle
transfer line to
flow reversal and
Manifold Boxen

## Slide 24
IBBelle
transfer line to
flow reversal and
Manifold Boxen

## Slide 25: IBBelle transfer line to flow reversal and Manifold Boxen

## Slide 26: CO2 Unit Insulating is made by a company

## Slide 27: IBBelle base frame
isolation
Summe 8210€

## Slide 28: IBBelle base frame
tools for transportation
currently manufactured

## Slide 29: IBBelle
Transport Munich KEK
DHL

## Slide 30: IBBelle
Transport Munich KEK
M.E.L

## Slide 31: IBBelle
Transport Munich KEK
ITG-GmbH Internationale Spedition + Logistik
ITG-GmbH Internationale Spedition + Logistik Niederlassung München: Eichenstraße 2 85445 - Schwaig Fon: +49 (8122) 567-1379 Fax: +49 (8122) 567-1301 Mobil: +49 (171) 2990553 E-Mail: Marcel.Graetz@itg.de Homepage: www.itg.de

## Slide 32
Thanks