## Slide 1
MadMax:The Cluster Seed Project
The idea
Realization
Current activities
Further plans
B. Majorovits

## Slide 2
Proposed seed project
High precision motors to test ~μm precision of relative plate positioning
Different high ε plates with diameter 200mm to test transmission behavior for different ε:  cross check simulations, ε dependence, tiling of plates, precision of geometries
Cryogenic low noise amplifier for reference measurements

## Slide 3
First prototype setup at MPI
Water / Myon-Veto (Č)‏
Cryo-tank
Germanium
Array
Wave guides
Removable copper mirror
Dielectric discs
Mirror
Horn antenna
Mirror
Precision motors
Ref. signal in 
Slides for discs
Signal out 
Prototype setup partly funded as seed project by:

## Slide 4
First prototype setup at MPI
Prototype setup partly funded as seed project by:
Test correlation btw. transmission and boost factor
Test needed disc precision
Evaluate uncertainties
R&D on tiling

## Slide 5
First prototype setup at MPI
Prototype setup partly funded as seed project by:
Test correlation btw. transmission and boost factor
Test needed disc precision
Evaluate uncertainties
R&D on tiling

## Slide 6
First prototype setup at MPI
Transmission and reflection measurements
Prototype setup partly funded as seed project by:

## Slide 7
Further plans
2016:
Learned a alot already (See Olafs talks)!
Ordered 15 additional precision motors
Ordered additional sapphire plates
2017 -- ?:
Add five additional motors to lower frame
Upgrade of symmetric upper frame with motors
Tests with up to 20 discs  can we scale up?
Crucial for tests to understand behavior of booster!