## Slide 1: A new 3D Simulation for Germanium Detectors in Julia
L. Hauertmann, X. Liu, O. Schulz, M. Schuster, A. J. Zsigmond
IMPRS Young Scientist Workshop at Ringberg Castle
2018

## Slide 2: Outline
Physics of a Germanium Detector
Why do we (GeDet, Gerda/Majorana, LEGEND, …) need a (new) simulation software?
Electric Potential Calculation
Why Julia?

## Slide 3: Physics of a Germanium Detector
A germanium detector is a diode.

## Slide 4: Germanium Detector Siegfried III

## Slide 5: Illustration of the Electric Field

## Slide 6: Signal Formation

## Slide 7: Neutrinoless Double Beta Decay
Ge based experiments: Gerda, Majorana and LEGEND
Ge-76: Q-Value = 2039 keV
Very rare decay -> Background suppression is very important

## Slide 8: Neutrinoless Double Beta Decay
[PHYSICAL REVIEW LETTERS 120, 132503 (2018)]
Pulse Shape Discrimination (PSD) powerful tool to identify background events

## Slide 9: Overview
Input: Detector geometry, Impurities, HV, mobility parameters, ...
Weighting potential
Drift velocity
Electric field
Charge drift
Signal
Electronics model
Noise
Data events
Pulse shape analysis
Simulated event

## Slide 10: Overview
Input: Detector geometry, Impurities, HV, mobility parameters, ...
Weighting potential
Drift velocity
Electric field
Charge drift
Signal
Electronics model
Noise
Data events
Pulse shape analysis
Simulated event

## Slide 11: What software do we have?
MaGe (MPP)
Solves just the Poisson equation
Limited options for different detector geometries
Written by multiple PhD-Students -> not that well written
Very slow, even it is written in C++/ROOT
FieldGen + SigGen (Majorana)
Only 2D
No segmentation
Also limited in detector geometries
No adaptive grid

## Slide 12: Our Goals
3D Adaptive grid
Solve Gauss Law, not only Poisson equation (multiple materials)
Not limited to certain geometrical detector designs
  Design new detectors
  Also, not limited to germanium detectors at all
Fast and easy to use Julia

## Slide 13: Field Calculation

## Slide 14: Field Calculation – How to be fast
Successive over-relaxation (SOR) → faster convergence https://people.eecs.berkeley.edu/~demmel/cs267-1995/lecture24/lecture24.html
Julia → fast (vectorized) loops https://software.intel.com/en-us/articles/vectorization-in-julia
Red-Black-Algorithm → parallelism https://people.eecs.berkeley.edu/~demmel/cs267-1995/lecture24/lecture24.html
Adaptive grid → only fine grid where you need it

## Slide 15: Example: Field Calculation of Siegfried III

## Slide 16: Example: Field Calculation of Siegfried III

## Slide 17: Example: Field Calculation of Siegfried III

## Slide 18: Example: Field Calculation of Siegfried III

## Slide 19: Electric Field

## Slide 20: Charge Drift -> Pulses

## Slide 21: Why Julia?
Development started in 2009, First version released in 2012
Made for us: Designed for high-performance computational science
Finally: v1.0 was just released in August 2018
`As fast as C, as easy as Python`
  Compiled, not interpreted
  Typesafe
  No need to call C-Libraries to be fast (in contrast to Python (e.g. Numpy))
  Fast (vectorized) loops, multithreading is quite easy
Tools to analyse your code (@time, @code_native, @code_llvm, @code_warntype, ...)
  Make it work -> make it fast

## Slide 22: Summary and Outlook
Detector Simulation is very important for background reduction in GERDA, MAJORANA & LEGEND
Design of new detectors
Expect usable version by the end of the year
  Field Calculation can be used not only for germanium detectors
Give Julia a try

## Slide 23: Signal and mirror pulses in segments
Energy deposition at:
r = 31 mm, ϕ = 5 deg, z = 25 mm

## Slide 24: Weighting Potential

## Slide 25: Backup: Field Calculation (Old)

## Slide 26: Backup: Weighting Potentials (Old)