## Slide 1
Software development status
Andrey Vostrukhin

## Slide 2
High level functions: ADC transfer curves
ADC transfer curve measurements implemented with two options:
Fast Scan to identify optimal parameters for given gain and measure one ADC channel
Full Scan to characterize all ADC channels
Measurement procedure was tested and validated with Hybrid E1 board s/n 04
Reference measurements started for Hybrid E1 board s/n 05, when completed (~1 week):
Go for matrix population and wirebonding
Physical measurements with sensor in cleanroom
Now data available for scientific analysis

## Slide 3
User-friendly GUI
User-friendly GUI is under development.
New power widget to be added soon that allows:
Quickly overview all voltages
See if the voltages are within allowed limits

## Slide 4
Transition to full ASM control software
First version of ASIC container class is complete
Working on GUI to control all ASIC settings
Hard-coded ASIC initialization procedure to be replaced with generated sequence for compatibility
GUI
JTAG
files
import/export functions
Container
Class
Log/config
DHPT
DCD
SW
DHPT
DCD
DHPT
DCD
DHPT
DCD
DHPT
DCD
DHPT
DCD
DHPT
DCD
DHPT
DCD
SW
SW
SW
SW
SW
SW
SW

## Slide 5
Todo list
High level-functions: implement DCD delay scan
User friendly GUI: add power widget
Physical measurements: make reference measurements with E1-05 board and populate sensor
Full ASM control software: deploy first version on a testbed for testing