Proposed Actions

- EOS Geometry:  The proposal by Hans Krüger  is too long and the 1st layer needs to be split. Study alternative, more compact solutions (routing along the module, direct mounting of the Kapton with wire bond connections ?): Laci, Hans

- DEPFET irradiations up to 10 Mrad in Karlsruhe

- Switcher 4 radiation tests up to 10 Mrad (Heidelberg, MPI?)

- Dummy bump bonded chips are needed for thermal studies (from Heidelberg?). Carlos Marinas to send information to Karlsruhe.

- Understand installation schedule. PXD must not be installed before commissioning of superKEKB. (TC, discuss at B2GM in November)

- Freeze module lengths (as soon as IR geometry is fixed) (TC)

- Produce thin dummy modules (Laci). Dimensions?

- Backside connection of DEPFETs: Laci, Rainer

- Joint for 2nd layer (and eventually 1st layer) half modules

- Define max. length of inner layer module without split

- 100 MHz clock should be replaced by 127 MHz (basic clock/4)

- Check implications of single sampling readout for the DHP (Hans Krüger)

- ASICs (especially DHP) have to work with up to 2000 lines (20µs readout cycle)

- Work on FPGA emulator for DHP (Bonn)

- Possibility of 8 DHP (cutting tolerances)

- Adaptor chip for DCD-DHP tests (till August 2010)

- Footprint of the DHP test chip needs to be known to PXD6 designer by February/March 2010

- Finalize dimensions of DHH boxes and check if proposed space is sufficient

- Hans Krüger to check the cable layout by Hans-Günther (On Wiki)

- Propose common cool (and dry) volume for PXD and SVD. Create joint task force (TC)

- Prepare PXD6 tests (J. Ninkovic)

- Define module envelop for clearances (height of active and passive components and connectors, wire bonds etc)

- Define parameter set (coolant temperature,..) to keep sensor temperature below 35 deg (Karlsruhe)

- Check if cooling pipe insulation is needed for C3F8: no, should work without. Carlos Lacasta will discuss C3F8 cooling with ATLAS experts.

- Conceptual design of air cooling

- What infrastructure (pipes…) is needed to supply 3-7 l/s of dry, cold air

- Circulate names of TDR section editors (Christian)

- TDR templates etc on Wiki pages (Christian, HGM)

- Draft and distribute MoU on common fund (Christian)

- MoU to be signed by Friday, November 13.

- Laci to circulate information on the TDR templates on the Wiki and information on how to use.

- Simulations should include background. Since background calculations are not yet available, study performance as function of occupancy.

- Order SOI wafers (March, 2010)

- Finalize parameters relevant for SOI order (sensor thickness) before March 2010.

- Mock up of IR and inner PXD/SVD

- PXD DAQ should be integrated in common DAQ in FY2010

- Organize first meeting of ID task force